# ABSTRAK

Latar Belakang: Pemeriksaan Activated Partial Thromboplastin Time (APTT) adalah pemeriksaan laboratorium yang dilakukan sebelum operasi atau pemantauan terapi antikoagulan yang bertujuan untuk menilai aktifitas faktor koagulasi jalur intrinsik dan jalur bersama. Salah satu hal yang harus diperhatikan dalam tahap pra-analitik pemeriksaan hemostasis adalah urutan pengisian tabung pada pengambilan darah. Pengisian tabung yang tidak sesuai dapat menyebabkan gangguan dalam pemeriksaan karena terjadi kontaminasi silang dari spesimen, tromboplastin jaringan atau mikroorganisme.

Tujuan: Mengetahui perbedaan nilai APTT yang diperoleh dari pengambilan darah sistem vacutainer menggunakan tabung dengan antikoagulan Natrium sitrat 3.2 % volume 2 ml urutan pertama dan kedua.

Metode Penelitian: Jenis penelitian yang digunakan dalam penelitian ini adalah penelitian survei (Survey Research Method) dengan desain penelitian potong silang (Cross Sectional). Sampel yang digunakan berasal dari 20 orang dan terdiri dari 2 kelompok. Kelompok pertama adalah urutan pengisian tabung Natrium sitrat 3.2% volume 2 ml pertama dan kelompok kedua pengisisan tabung 2 ml kedua. Data hasil pemeriksaan APTT diperoleh 40 data, kemudian data dianalisis dengan uji Paired sample t-test menggunakan SPSS 26.0 for windows.

Hasil Penelitian: Hasil penelitian menunjukkan ada perbedaan nilai rerata APTT urutan pengisian tabung pertama dan tabung kedua pada pengambilan darah sistem vacutainer yaitu sebesar 34 detik dan 32.7 detik. Analisis statistik menunjukkan nilai signifikansi p = 0.000, artinya ada pebedaan hasil pemeriksaan APTT pada pengambilan darah sistem vacutainer menggunakan urutan pengisian tabung Natrium sitrat 3.2% volume 2 ml pertama dan kedua. Perbedaan nilai APTT pada tabung pertama dan kedua tidak bermakna secara klinis.

Kesimpulan: Ada perbedaan nilai APTT pada pengambilan darah sistem vacutainer menggunakan urutan pengisian tabung Natrium sitrat 3.2% volume 2 ml pertama dan kedua

Kata kunci: Activated Partial Thromboplastin Time, tabung pertama, pre analitik, hemostasis

# ABSTRACT

Background: Examination of Activated Partial Thromboplastin Time (APTT) is a laboratory test performed prior to surgery or monitoring of anticoagulant therapy to assess the activity of coagulation factors intrinsic pathway and pathways together. That must be considered in the pre-analytic stage of hemostasis examination is the order in which the tube is filled in the blood draw. Incorrect filling of the tube can cause interruption in the examination due to cross-contamination of the specimen, tissue thromboplastin or microorganisms.

Purpose: Knowing the difference in value APTT was obtained from blood collection by using a vacutainer system using a tube with 3.2% sodium citrate anticoagulant by volume of 2 ml of the first and second sequences.

Research Methods: The type of research used in this research is survey research (Survey Research Method) with a cross-sectional research design. The sample used came from 20 people and consisted of 2 groups. The first group was the sequence of filling 3.2% sodium citrat 2 ml volume first tube and the second group filling 2 ml the second tube. The data obtained from the APTT examination were 40 data, then the data were analyzed by using the Paired sample t-test using SPSS 26.0 for windows.

Results: The results showed that there were differences in the mean value of the APTT in the order of filling the first tube and the second tube in the vacutainer system blood collection, namely 34 seconds and 32.7 seconds. Statistical analysis showed a significance value of p = 0.000, meaning that there was a difference in the results of the APTT examination in the vacutainer system blood collection using the order of filling the 3.2% sodium citrate in the first and second tube 2 ml volume. The difference in APTT values ​​in the first and second tubes was not clinically significant.

Conclusion: There is a difference in the APTT value in the vacutainer system blood collection using the order of filling the 3.2% sodium citrate by 2 ml volume of the first and second tube.

Key words: Activated Partial Thromboplastin Time, first tube, pre analytic, hemostas